## Tabelle1
0.3 MPa |  |  | 2.5 MPa |  |  | 5.0 MPa |  |  | 7.5 MPa
Superficial Gas Velocity/ cm s^-1 | Mass Transfer Coefficient/ h^-1 | Standard Deviation | Superficial Gas Velocity/ cm s^-1 | Mass Transfer Coefficient/ h^-1 | Standard Deviation | Superficial Gas Velocity/ cm s^-1 | Mass Transfer Coefficient/ h^-1 | Standard Deviation | Superficial Gas Velocity/ cm s^-1 | Mass Transfer Coefficient/ h^-1 | Standard Deviation
0.61625 | 37.7195 | 3.5268 | 0.07395 | 9.3509 | 0.40435 | 0.036975 | 4.5819 | 0.50008 | 0.02465 | 3.2644 | 0.41778
1.2325 | 69.7074 | 3.5268 | 0.1479 | 15.0051 | 1.7672 | 0.07395 | 8.1371 | 1.8239 | 0.0493 | 6.2338 | 0.41752
1.8488 | 183.4461 | 3.8227 | 0.22185 | 17.5401 | 2.3381 | 0.11093 | 10.7021 | 2.5974 | 0.07395 | 8.7548 | 0.24978
[6 empty] | 0.1479 | 11.982 | 1.7105 | 0.0986 | 9.5653 | 0.53664
[6 empty] | 0.18488 | 13.1748 | 2.8337 | 0.12325 | 10.4417 | 0.44996
[9 empty] | 0.1479 | 10.9208 | 0.40496