## Lab_micro-GC
Position | New Position | Areas (CO2) | Areas (C2H4) | Areas (C2H6) | Areas (O2) | Areas | Areas (H2) | Area ratios (CO2 | Area ratios (C2H4) | Area ratios (C2H6) | Area ratios (O2) | Area ratios (H2) |  | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Molar flow | Molar flow | Molar flow | Molar flow | Molar flow | Molar flow | Molar flow | Molar flow | Temperature
mm | mm | [6 empty] | - | - | - | - | - |  | ml/min | ml/min | ml/min | ml/min | ml/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min
|  | CO2 | C2H4 | C2H6 | O2 | N2 | H2 | CO2 | C2H4 | C2H6 | O2 | H2 |  | CO2 | C2H4 | C2H6 | O2 | H2 | CO2 | C2H4 | C2H6 | O2 | H2 | CH4 | CO | H2O |  | 0.3% of Temperature
55 | 50 | 1349452 | 1371136 | 4311193 | 153972 | 18162475 | 799054 | 0.074299 | 0.075493 | 0.23737 | 0.0084775 | 0.043995 | GC Caliberation data | 0.24251 | 0.24188 | 0.68532 | 0.083308 | 0.061045 | 0.0099178 | 0.0097608 | 0.028027 | 0.0034069 | 0.0024965 | 0.0060189 | 0.030488 | 0.072966 | 510.8 | 0.2554
50 | 45 | 1318632 | 1397133 | 4487764 | 51072 | 17975268 | 846166 | 0.073358 | 0.077725 | 0.24966 | 0.0028412 | 0.047074 | Slope CO2 | 0.23944 | 0.24903 | 0.72032 | 0.027921 | 0.065318 | 0.0097922 | 0.010053 | 0.029458 | 0.0011418 | 0.0026712 | 0.0016332 | 0.031551 | 0.067103 | 514.5 | 0.25725
49 | 44 | 1301775 | 1432572 | 4533443 | 112905 | 17960335 | 862907 | 0.072481 | 0.079763 | 0.25241 | 0.0062864 | 0.048045 | 0.272 | 0.23658 | 0.25556 | 0.72815 | 0.061775 | 0.066666 | 0.009675 | 0.01032 | 0.029779 | 0.0025264 | 0.0027264 | 0.001609 | 0.030518 | 0.070092 | 515.4 | 0.2577
47 | 42 | 1271534 | 1459951 | 4580920 | 73046 | 17963129 | 782005 | 0.070786 | 0.081275 | 0.25502 | 0.0040664 | 0.043534 | Slope C2H6 | 0.23104 | 0.2604 | 0.73557 | 0.039961 | 0.060406 | 0.0094488 | 0.010518 | 0.030082 | 0.0016342 | 0.0024704 | 0.00025483 | 0.031096 | 0.070472 | 516.3 | 0.25815
45 | 40 | 1247334 | 1492408 | 4612528 | 59440 | 17947166 | 723065 | 0.0695 | 0.083156 | 0.25701 | 0.0033119 | 0.040289 | 0.23722 | 0.22685 | 0.26643 | 0.74122 | 0.032546 | 0.055903 | 0.0092772 | 0.010765 | 0.030313 | 0.001331 | 0.0022862 | 0 | 0.031224 | 0.067912 | 517.7 | 0.25885
43 | 38 | 1224850 | 1527705 | 4650021 | 110759 | 18083916 | 609369 | 0.067731 | 0.084479 | 0.25714 | 0.0061247 | 0.033697 | Slope C2H4 | 0.22108 | 0.27067 | 0.74159 | 0.060187 | 0.046756 | 0.0090411 | 0.010938 | 0.030328 | 0.0024614 | 0.0019121 | 0 | 0.03054 | 0.072168 | 518.4 | 0.2592
42 | 37 | 1225313 | 1546818 | 4691214 | 44761 | 18090055 | 519402 | 0.067734 | 0.085507 | 0.25933 | 0.0024743 | 0.028712 | 0.267 | 0.22108 | 0.27396 | 0.74783 | 0.024315 | 0.03984 | 0.0090414 | 0.011073 | 0.030583 | 0.00099439 | 0.0016293 | 0 | 0.031249 | 0.07119 | 519 | 0.2595
39 | 34 | 1199131 | 1575503 | 4800890 | 72935 | 18154804 | 326572 | 0.06605 | 0.086782 | 0.26444 | 0.0040174 | 0.017988 | Slope O2 | 0.21559 | 0.27805 | 0.76239 | 0.039479 | 0.02496 | 0.0088167 | 0.01124 | 0.031179 | 0.0016145 | 0.0010208 | 0 | 0.030622 | 0.077308 | 520 | 0.26
37 | 32 | 1088047 | 1791263 | 4773629 | 8631 | 18071281 | 90876 | 0.060209 | 0.099122 | 0.26416 | 0.00047761 | 0.0050288 | 0.81891 | 0.19652 | 0.31759 | 0.76158 | 0.0046934 | 0.0069777 | 0.0080369 | 0.012857 | 0.031145 | 0.00019194 | 0.00028536 | 0 | 0.031298 | 0.071197 | 520.7 | 0.26035
35 | 30 | 1050900 | 1794405 | 4817288 | 99312 | 18046562 | 65976 | 0.058233 | 0.099432 | 0.26694 | 0.0055031 | 0.0036559 | Slope H2 | 0.19007 | 0.31858 | 0.76949 | 0.054079 | 0.0050727 | 0.0077732 | 0.012898 | 0.031469 | 0.0022116 | 0.00020746 | 0 | 0.030142 | 0.070232 | 522 | 0.261
33 | 28 | 1038266 | 1766110 | 4835407 | 134737 | 18045323 | 48223 | 0.057537 | 0.097871 | 0.26796 | 0.0074666 | 0.0026723 | 0.11563 | 0.1878 | 0.31358 | 0.7724 | 0.073374 | 0.003708 | 0.0076802 | 0.012693 | 0.031588 | 0.0030007 | 0.00015164 | 0 | 0.029818 | 0.064347 | 523.2 | 0.2616
31 | 26 | 910113 | 1689232 | 5145365 | 371927 | 17975900 | 44214 | 0.05063 | 0.093972 | 0.28624 | 0.02069 | 0.0024596 |  | 0.16526 | 0.30109 | 0.82443 | 0.20332 | 0.0034129 | 0.0067583 | 0.012182 | 0.033716 | 0.0083151 | 0.00013957 | 0 | 0.027132 | 0.064841 | 524.7 | 0.26235
29 | 24 | 906204 | 1758733 | 5073108 | 366179 | 18040213 | 44366 | 0.050232 | 0.09749 | 0.28121 | 0.020298 | 0.0024593 | Total Flow N2 | 0.16396 | 0.31236 | 0.81013 | 0.19947 | 0.0034124 | 0.0067053 | 0.012643 | 0.033131 | 0.0081574 | 0.00013955 | 0 | 0.027196 | 0.06023 | 524.6 | 0.2623
27 | 22 | 845922 | 1762200 | 5276773 | 564129 | 17798671 | 59986 | 0.047527 | 0.099007 | 0.29647 | 0.031695 | 0.0033703 | 12 ml/min | 0.15513 | 0.31722 | 0.85357 | 0.31146 | 0.0046764 | 0.0063442 | 0.012842 | 0.034907 | 0.012738 | 0.00019125 | 0 | 0.023916 | 0.055654 | 525.1 | 0.26255
25 | 20 | 749844 | 1735489 | 5334135 | 674422 | 17908524 | 39089 | 0.041871 | 0.096909 | 0.29785 | 0.037659 | 0.0021827 | Total Flow O2 | 0.13667 | 0.31049 | 0.85751 | 0.37007 | 0.0030286 | 0.0055891 | 0.012567 | 0.035069 | 0.015135 | 0.00012386 | 0 | 0.023432 | 0.048984 | 525.5 | 0.26275
23 | 18 | 586174 | 1637042 | 5814827 | 997510 | 17790238 | 33765 | 0.032949 | 0.092019 | 0.32685 | 0.056071 | 0.001898 | 1.5 ml/min | 0.10755 | 0.29483 | 0.94006 | 0.551 | 0.0026335 | 0.0043982 | 0.011926 | 0.038445 | 0.022534 | 0.0001077 | 0 | 0.019383 | 0.048217 | 525.8 | 0.2629
21 | 16 | 551372 | 1675159 | 5814832 | 1039363 | 17601544 | 32039 | 0.031325 | 0.095171 | 0.33036 | 0.05905 | 0.0018202 | Total Flow C2H6 | 0.10225 | 0.30493 | 0.95004 | 0.58028 | 0.0025257 | 0.0041814 | 0.012339 | 0.038853 | 0.023731 | 0.00010329 | 0 | 0.018461 | 0.041948 | 525.6 | 0.2628
19 | 14 | 462897 | 1625049 | 6059405 | 1233937 | 17617687 | 37463 | 0.026275 | 0.09224 | 0.34394 | 0.07004 | 0.0021264 | 1.5 ml/min | 0.08576 | 0.29554 | 0.98869 | 0.68827 | 0.0029506 | 0.0035072 | 0.011955 | 0.040434 | 0.028148 | 0.00012067 | 0 | 0.016151 | 0.037192 | 525.3 | 0.26265
17 | 12 | 379640 | 1556880 | 6318984 | 1421987 | 17534706 | 30286 | 0.021651 | 0.088788 | 0.36037 | 0.081096 | 0.0017272 |  | 0.070668 | 0.28448 | 1.0355 | 0.79692 | 0.0023966 | 0.00289 | 0.011503 | 0.042346 | 0.032591 | 9.8011e-05 | 0 | 0.013668 | 0.032867 | 524.7 | 0.26235
15 | 10 | 299091 | 1460537 | 6611239 | 1590895 | 17440891 | 31616 | 0.017149 | 0.083742 | 0.37907 | 0.091216 | 0.0018128 |  | 0.055974 | 0.26831 | 1.0887 | 0.89638 | 0.0025153 | 0.0022891 | 0.010842 | 0.044523 | 0.036658 | 0.00010287 | 0 | 0.011475 | 0.028523 | 524 | 0.262
13 | 8 | 240821 | 1381030 | 6856127 | 1738970 | 17328829 | 32040 | 0.013897 | 0.079696 | 0.39565 | 0.10035 | 0.0018489 |  | 0.04536 | 0.25534 | 1.1359 | 0.98614 | 0.0025655 | 0.0018551 | 0.010312 | 0.046453 | 0.040329 | 0.00010492 | 0 | 0.0093165 |  | 523 | 0.2615
11 | 6 | 190001 | 1268465 | 7123624 | 1893568 | 17295366 | 29058 | 0.010986 | 0.073341 | 0.41188 | 0.10948 | 0.0016801 |  | 0.035857 | 0.23499 | 1.1821 | 1.0759 | 0.0023312 |  | 0.0094789 | 0.048343 | 0.044 | 0.0008708 | 0 |  | 0.022558 | 521.7 | 0.26085
9 | 4 | 144163 | 1130439 | 7402378 | 2044638 | 17221956 | 28258 | 0.0083709 | 0.065639 | 0.42982 | 0.11872 | 0.0016408 |  | 0.027323 | 0.21031 | 1.2332 | 1.1667 | 0.0022767 | 0.0011174 | 0.0084698 | 0.050432 | 0.047712 | 9.3109e-05 | 0 | 0.0052758 | 0.014305 | 520 | 0.26
7 | 2 | 96400 | 915516 | 7768063 | 2192563 | 17113963 | 27665 | 0.0056328 | 0.053495 | 0.4539 | 0.12812 | 0.0016165 |  | 0.018386 | 0.1714 | 1.3017 | 1.259 | 0.002243 | 0.0007519 | 0.0068785 | 0.053235 | 0.051487 | 9.173e-05 | 0 | 0.0033725 | 0.014029 | 519.1 | 0.25955
5 | 0 | 97453 | 899942 | 7790143 | 2195201 | 17167409 | 25033 | 0.0056766 | 0.052422 | 0.45378 | 0.12787 | 0.0014582 |  | 0.018529 | 0.16796 | 1.3014 | 1.2566 | 0.0020233 | 0.00075774 | 0.0067378 | 0.05322 | 0.051389 | 8.2745e-05 | 0 | 0.0035262 | 0.009269 | 517.4 | 0.2587
0 | -5 | 81460 | 808035 | 7908409 | 2295113 | 17123797 | 12194 | 0.0047571 | 0.047188 | 0.46184 | 0.13403 | 0.00071211 |  | 0.015527 | 0.15119 | 1.3243 | 1.3171 | 0.00098809 | 0.000635 | 0.006052 | 0.0601 | 0.0601 | 4.0409e-05 | 0 | 0 | 0 | 514 | 0.257

## Synchrotron-GC
New Position | Areas | Areas | Areas | Areas | Areas | Areas | Areas | Areas | Area ratios | Area ratios | Area ratios | Area ratios | Area ratios | Area ratios | Area ratios | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate | Flow rate |  |  | Temperature
[9 empty] | - | - | - | - | - | - | - | ml/min | ml/min | ml/min | ml/min | ml/min | ml/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min | mmol/min
| CO2 | C2H4 | C2H6 | H2O | O2 | N2 | CH4 | CO | CO2 | C2H4 | C2H6 | H2O | O2 | CH4 | CO | CO2 | C2H4 | C2H6 | O2 | CH4 | CO | CO2 | C2H4 | C2H6 | O2 | CH4 | CO | H2O | H2 | 5% of Flow rate | 10% of Flow rate |  | 3% of Temperature
40 | 1986231.25 | 2834336 | 8365830 | 4195045 | 73039 | 105714245 | 53373.6667 | 2948923 | 0.018789 | 0.026811 | 0.079136 | 0.039683 | 0.00069091 | 0.00050489 | 0.027895 | 0.56561 | 0.78792 | 2.3429 | 0.026134 | 0.022526 | 0.90725 | 0.023131 | 0.032223 | 0.095816 | 0.0010688 | 0.00092121 | 0.037103 | 0.052543 | 0.016273 | 0.00081365 | 0.0016273
37.5 | 1986231.25 | 2834336 | 8365830 | 4195045 | 73039 | 105714245 | 53373.6667 | 2948923 | 0.018789 | 0.026811 | 0.079136 | 0.039683 | 0.00069091 | 0.00050489 | 0.027895 | 0.56561 | 0.78792 | 2.3429 | 0.026134 | 0.022526 | 0.90725 | 0.023131 | 0.032223 | 0.095816 | 0.0010688 | 0.00092121 | 0.037103 | 0.052543 | 0.004101 | 0.00020505 | 0.0004101
35 | 1986231.25 | 2834336 | 8365830 | 4195045 | 73039 | 105714245 | 53373.6667 | 2948923 | 0.018789 | 0.026811 | 0.079136 | 0.039683 | 0.00069091 | 0.00050489 | 0.027895 | 0.56561 | 0.78792 | 2.3429 | 0.026134 | 0.022526 | 0.90725 | 0.023131 | 0.032223 | 0.095816 | 0.0010688 | 0.00092121 | 0.037103 | 0.052543 | 0.0074527 | 0.00037263 | 0.00074527 | 515.8496 | 0.25792
34 | 1538842 | 2816466.6667 | 8296238.3333 | 4173419.6667 | 56711 | 104412679.3333 | 54120 | 2902752 | 0.014738 | 0.026974 | 0.079456 | 0.03997 | 0.00054314 | 0.00051833 | 0.027801 | 0.44367 | 0.7929 | 2.3524 | 0.020545 | 0.023125 | 0.90417 | 0.018144 | 0.032427 | 0.096203 | 0.00084021 | 0.00094574 | 0.036977 | 0.063099 |  |  |  | 516.3445 | 0.25817
33 | 1710925 | 2878018 | 8292901 | 4199528.25 | 80366 | 104977248 | 48886 | 2766019.6667 | 0.016298 | 0.027416 | 0.078997 | 0.040004 | 0.00076556 | 0.00046568 | 0.026349 | 0.49063 | 0.80637 | 2.3388 | 0.028958 | 0.020777 | 0.85695 | 0.020065 | 0.032977 | 0.095648 | 0.0011843 | 0.00084968 | 0.035046 | 0.060501 |  |  |  | 516.9076 | 0.25845
32.5 | 1861683 | 2975970.3333 | 8326567.3333 | 4176880.6667 | 79995 | 104559145.3333 | 42926.3333 | 2749587.6667 | 0.017805 | 0.028462 | 0.079635 | 0.039948 | 0.00076507 | 0.00041055 | 0.026297 | 0.536 | 0.83832 | 2.3577 | 0.02894 | 0.018317 | 0.85527 | 0.02192 | 0.034284 | 0.096419 | 0.0011835 | 0.00074908 | 0.034977 | 0.056861 |  |  |  | 517.2138 | 0.25861
32 | 1831963 | 2790026.25 | 7853561 | 4142989.5 | 65275 | 104969179.25 | 25146.3333 | 2745112 | 0.017452 | 0.026579 | 0.074818 | 0.039469 | 0.00062185 | 0.00023956 | 0.026152 | 0.52538 | 0.78085 | 2.2154 | 0.023522 | 0.010688 | 0.85054 | 0.021486 | 0.031934 | 0.090601 | 0.00096196 | 0.0004371 | 0.034784 | 0.058366 |  |  |  | 517.5065 | 0.25875
31.5 | 1670610.3333 | 2899880.5 | 8255007.5 | 4184700 | 43700.75 | 104467718 | 30043.25 | 2745261.75 | 0.015992 | 0.027759 | 0.07902 | 0.040057 | 0.00041832 | 0.00028758 | 0.026279 | 0.48141 | 0.81684 | 2.3395 | 0.015823 | 0.012831 | 0.85467 | 0.019688 | 0.033406 | 0.095675 | 0.00064711 | 0.00052472 | 0.034952 | 0.062423 |  |  |  | 517.8724 | 0.25894
31 | 1714776.6667 | 2920397.6667 | 8253483.6667 | 4190514.6667 | 43518.3333 | 104695270 | 28390.3333 | 2767985.3333 | 0.016379 | 0.027894 | 0.078833 | 0.040026 | 0.00041567 | 0.00027117 | 0.026438 | 0.49306 | 0.82098 | 2.334 | 0.015723 | 0.012098 | 0.85987 | 0.020164 | 0.033575 | 0.09545 | 0.00064301 | 0.00049478 | 0.035165 | 0.061266 |  |  |  | 518.3395 | 0.25917
30.5 | 1648791.6667 | 2919564.25 | 8238978.5 | 4191930.5 | 45166.75 | 104622724.25 | 32340.5 | 2757582.25 | 0.015759 | 0.027906 | 0.078749 | 0.040067 | 0.00043171 | 0.00030912 | 0.026357 | 0.47442 | 0.82133 | 2.3315 | 0.01633 | 0.013791 | 0.85723 | 0.019402 | 0.033589 | 0.095349 | 0.00066783 | 0.00056401 | 0.035057 | 0.062849 |  |  |  | 518.7758 | 0.25939
30 | 1711270 | 2928270.75 | 8259731.25 | 4196672.5 | 51785.5 | 104768285.5 | 34788.25 | 2771704 | 0.016334 | 0.02795 | 0.078838 | 0.040057 | 0.00049429 | 0.00033205 | 0.026456 | 0.49171 | 0.82268 | 2.3341 | 0.018697 | 0.014815 | 0.86042 | 0.020109 | 0.033644 | 0.095456 | 0.00076463 | 0.00060585 | 0.035188 | 0.06111 | 0.012307 | 0.00061534 | 0.0012307 | 519.1831 | 0.25959
29.5 | 1690845.6667 | 2945141 | 8267356 | 4205716 | 25445.3333 | 105006747.6667 | 23817.6667 | 2778100.6667 | 0.016102 | 0.028047 | 0.078732 | 0.040052 | 0.00024232 | 0.00022682 | 0.026456 | 0.48474 | 0.82565 | 2.331 | 0.0091661 | 0.01012 | 0.86045 | 0.019824 | 0.033766 | 0.095328 | 0.00037485 | 0.00041385 | 0.035189 | 0.062459 |  |  |  | 519.6034 | 0.2598
29 | 1688796.5 | 2932497.25 | 8118354.75 | 4204159.25 | 58044.5 | 105060233.5 | 29940.5 | 2799749 | 0.016075 | 0.027913 | 0.077273 | 0.040017 | 0.00055249 | 0.00028498 | 0.026649 | 0.48391 | 0.82154 | 2.2879 | 0.020898 | 0.012715 | 0.86671 | 0.01979 | 0.033598 | 0.093566 | 0.00085466 | 0.00051998 | 0.035445 | 0.061311 |  |  |  | 520.07 | 0.26003
28.5 | 1585945 | 2950397.6667 | 8259297 | 4215633.6667 | 60551.3333 | 104769915.6667 | 28944 | 2787688.6667 | 0.015137 | 0.028161 | 0.078833 | 0.040237 | 0.00057795 | 0.00027626 | 0.026608 | 0.45569 | 0.82912 | 2.334 | 0.021861 | 0.012326 | 0.86537 | 0.018636 | 0.033908 | 0.09545 | 0.00089404 | 0.00050407 | 0.03539 | 0.063595 |  |  |  | 520.5177 | 0.26026
28 | 1551966 | 2941978.75 | 8279424 | 4217902.5 | 58241 | 104880152 | 34207 | 2813860.25 | 0.014798 | 0.028051 | 0.078942 | 0.040216 | 0.00055531 | 0.00032615 | 0.026829 | 0.44546 | 0.82576 | 2.3372 | 0.021005 | 0.014551 | 0.87258 | 0.018218 | 0.03377 | 0.095581 | 0.00085903 | 0.0005951 | 0.035685 | 0.064207 |  |  |  | 520.9708 | 0.26049
27.5 | 1578598.5 | 2964285 | 8269558.3333 | 4235016.6667 | 61427 | 105021626.6667 | 29014.3333 | 2819181.6667 | 0.015031 | 0.028225 | 0.078741 | 0.040325 | 0.0005849 | 0.00027627 | 0.026844 | 0.4525 | 0.83109 | 2.3313 | 0.022124 | 0.012326 | 0.87305 | 0.018505 | 0.033988 | 0.095339 | 0.0009048 | 0.00050408 | 0.035704 | 0.063521 |  |  |  | 521.4138 | 0.26071
27 | 1664187 | 2964760.75 | 8291999.5 | 4239890.25 | 51011 | 104965961.75 | 28043.25 | 2828981 | 0.015855 | 0.028245 | 0.078997 | 0.040393 | 0.00048598 | 0.00026717 | 0.026951 | 0.47728 | 0.83169 | 2.3388 | 0.018383 | 0.01192 | 0.87655 | 0.019519 | 0.034013 | 0.095648 | 0.00075177 | 0.00048747 | 0.035847 | 0.061657 |  |  |  | 521.8474 | 0.26092
26.5 | 1630931 | 2988257.25 | 8282414.25 | 4237507.5 | 49726 | 104970017.5 | 29662.25 | 2852603 | 0.015537 | 0.028468 | 0.078903 | 0.040369 | 0.00047372 | 0.00028258 | 0.027175 | 0.46773 | 0.83849 | 2.336 | 0.017919 | 0.012607 | 0.88384 | 0.019128 | 0.034291 | 0.095534 | 0.00073281 | 0.00051559 | 0.036145 | 0.062178 |  |  |  | 522.3388 | 0.26117
26 | 1580576 | 2974830 | 8265281 | 4233302 | 43279.5 | 104933647.5 | 27599.5 | 2870201 | 0.015063 | 0.02835 | 0.078767 | 0.040343 | 0.00041245 | 0.00026302 | 0.027353 | 0.45344 | 0.83488 | 2.332 | 0.015601 | 0.011735 | 0.8896 | 0.018544 | 0.034143 | 0.09537 | 0.00063803 | 0.0004799 | 0.036381 | 0.063301 |  |  |  | 522.8234 | 0.26141
25.5 | 1501870 | 2978980.5 | 8273368 | 4231284 | 61115.25 | 104912465.75 | 24671.5 | 2899278 | 0.014315 | 0.028395 | 0.07886 | 0.040332 | 0.00058254 | 0.00023516 | 0.027635 | 0.43095 | 0.83627 | 2.3348 | 0.022035 | 0.010492 | 0.89879 | 0.017624 | 0.0342 | 0.095482 | 0.00090115 | 0.00042908 | 0.036757 | 0.064238 |  |  |  | 523.3088 | 0.26165
25 | 1594995 | 3013691.25 | 8319823 | 4240850.75 | 60559.5 | 104921740 | 17637 | 2907261.5 | 0.015202 | 0.028723 | 0.079296 | 0.040419 | 0.00057719 | 0.0001681 | 0.027709 | 0.45763 | 0.84629 | 2.3476 | 0.021833 | 0.0074997 | 0.90119 | 0.018715 | 0.03461 | 0.096009 | 0.00089287 | 0.00030671 | 0.036855 | 0.061974 |  |  |  | 523.77 | 0.26188
24.5 | 1565924 | 3002244 | 8345177.5 | 4250976.5 | 74399 | 104944678 | 12603.5 | 2894349 | 0.014921 | 0.028608 | 0.07952 | 0.040507 | 0.00070894 | 0.0001201 | 0.02758 | 0.44919 | 0.84277 | 2.3543 | 0.026816 | 0.0053582 | 0.89699 | 0.01837 | 0.034466 | 0.096279 | 0.0010967 | 0.00021913 | 0.036683 | 0.062429 |  |  |  | 524.17 | 0.26208
24 | 1448643 | 2998643.75 | 8396833.5 | 4269028.75 | 58475.5 | 105292521.25 | 14282.5 | 2833496.25 | 0.013758 | 0.028479 | 0.079748 | 0.040544 | 0.00055536 | 0.00013565 | 0.026911 | 0.41418 | 0.83884 | 2.361 | 0.021007 | 0.0060519 | 0.87523 | 0.016938 | 0.034305 | 0.096555 | 0.00085911 | 0.0002475 | 0.035793 | 0.066658 | 0.0071329 | 0.00035665 | 0.00071329 | 524.5267 | 0.26226
23 | 1610881 | 2984139.25 | 8526125.25 | 4279411 | 51631.75 | 105553170 | 16105.75 | 2525634.5 | 0.015261 | 0.028271 | 0.080776 | 0.040543 | 0.00048915 | 0.00015258 | 0.023928 | 0.45942 | 0.8325 | 2.3913 | 0.018503 | 0.0068076 | 0.77821 | 0.018789 | 0.034046 | 0.097796 | 0.00075669 | 0.0002784 | 0.031826 | 0.067129 |  |  |  | 525.0529 | 0.26253
22.5 | 1850832 | 2877633.5 | 8318910.75 | 4192970 | 60964.5 | 106045025.25 | 12054.5 | 2271897.5 | 0.017453 | 0.027136 | 0.078447 | 0.03954 | 0.00057489 | 0.00011367 | 0.021424 | 0.52541 | 0.79783 | 2.3226 | 0.021746 | 0.0050716 | 0.69678 | 0.021487 | 0.032628 | 0.094984 | 0.00088932 | 0.00020741 | 0.028495 | 0.064797 |  |  |  | 525.216 | 0.26261
22 | 1867344.5 | 2953025.6667 | 8730414 | 4262296.6667 | 66587.3333 | 105802628 | 19896.3333 | 2194566 | 0.017649 | 0.027911 | 0.082516 | 0.040285 | 0.00062935 | 0.00018805 | 0.020742 | 0.53131 | 0.82148 | 2.4427 | 0.023806 | 0.00839 | 0.6746 | 0.021729 | 0.033595 | 0.099898 | 0.00097357 | 0.00034312 | 0.027589 | 0.065053 |  |  |  | 525.3435 | 0.26267
21.5 | 1754319.75 | 2939658.5 | 8672343 | 4244002.5 | 63448 | 105544637.25 | 16935 | 2271861.25 | 0.016622 | 0.027852 | 0.082168 | 0.04021 | 0.00060115 | 0.00016045 | 0.021525 | 0.50037 | 0.8197 | 2.4324 | 0.022739 | 0.0071587 | 0.70007 | 0.020463 | 0.033522 | 0.099477 | 0.00092994 | 0.00029276 | 0.02863 | 0.066629 |  |  |  | 525.3915 | 0.2627
21 | 1656392 | 2896216 | 8475316.5 | 4173998 | 86687 | 106056264 | 16844 | 2517416 | 0.015618 | 0.027308 | 0.079913 | 0.039356 | 0.00081737 | 0.00015882 | 0.023737 | 0.47016 | 0.8031 | 2.3659 | 0.030918 | 0.0070859 | 0.77199 | 0.019228 | 0.032843 | 0.096755 | 0.0012644 | 0.00028978 | 0.031571 | 0.06549 |  |  |  | 525.4352 | 0.26272
20.5 | 1441134.6667 | 2994101.6667 | 8799656 | 4374038.3333 | 122914.6667 | 107088269.6667 | 11712.6667 | 2671562.6667 | 0.013457 | 0.027959 | 0.082172 | 0.040845 | 0.0011478 | 0.00010937 | 0.024947 | 0.40512 | 0.82296 | 2.4326 | 0.043416 | 0.0048798 | 0.81137 | 0.016568 | 0.033656 | 0.099483 | 0.0017756 | 0.00019956 | 0.033182 | 0.068177 |  |  |  | 525.15 | 0.26258
20 | 1201265 | 2960861 | 8648864.5 | 4271319.5 | 219248.75 | 105445968.5 | 13080 | 2810521.5 | 0.011392 | 0.028079 | 0.082022 | 0.040507 | 0.0020793 | 0.00012404 | 0.026654 | 0.34295 | 0.82663 | 2.4281 | 0.07865 | 0.0055343 | 0.86687 | 0.014025 | 0.033806 | 0.099301 | 0.0032165 | 0.00022633 | 0.035451 | 0.068111 | 0 | 0 | 0 | 525.1819 | 0.26259
19 | 915715 | 3036477.3333 | 8806417.6667 | 4422801.6667 | 489807 | 107157646 | 5160 | 2974603 | 0.0085455 | 0.028337 | 0.082182 | 0.041274 | 0.0045709 | 4.8153e-05 | 0.027759 | 0.25725 | 0.83448 | 2.4329 | 0.1729 | 0.0021484 | 0.90282 | 0.010521 | 0.034127 | 0.099494 | 0.0070709 | 8.786e-05 | 0.036922 | 0.065941 | 0 | 0 | 0 | 526.1819 | 0.26309
18 | 798243 | 2925011 | 8675986 | 4151780 | 729525 | 104529742 | 2809 | 2840726 | 0.0076365 | 0.027983 | 0.083 | 0.039719 | 0.0069791 | 2.6873e-05 | 0.027176 | 0.22989 | 0.82368 | 2.457 | 0.26399 | 0.0011989 | 0.88386 | 0.0094015 | 0.033685 | 0.10048 | 0.010796 | 4.9032e-05 | 0.036146 | 0.061504 | 0 | 0 | 0 | 526.1241 | 0.26306
16 | 660416.25 | 2829664 | 9238052.75 | 3610553 | 1365767.75 | 105561297.25 | 4763 | 2443703.5 | 0.0062562 | 0.026806 | 0.087514 | 0.034203 | 0.012938 | 4.5121e-05 | 0.02315 | 0.18834 | 0.78776 | 2.5903 | 0.4894 | 0.0020131 | 0.7529 | 0.0077022 | 0.032216 | 0.10593 | 0.020014 | 8.2327e-05 | 0.030791 | 0.051821 | 0 | 0 | 0 | 523.9877 | 0.26199
13 | 523109 | 2609719 | 9750088 | 3075511.6667 | 2140775 | 105665702.6667 | 8413 | 1955955 | 0.0049506 | 0.024698 | 0.092273 | 0.029106 | 0.02026 | 7.9619e-05 | 0.018511 | 0.14903 | 0.72341 | 2.7309 | 0.76635 | 0.0035522 | 0.60203 | 0.0060948 | 0.029585 | 0.11168 | 0.031341 | 0.00014527 | 0.024621 | 0.038554 | 0 | 0 | 0 | 522.8679 | 0.26143
10 | 449998 | 2330147 | 10385025 | 2500652 | 2905295 | 105871506 | 6934 | 1477702 | 0.0042504 | 0.022009 | 0.098091 | 0.02362 | 0.027442 | 6.5494e-05 | 0.013958 | 0.12795 | 0.64133 | 2.9027 | 1.038 | 0.0029221 | 0.45394 | 0.0052328 | 0.026228 | 0.11871 | 0.042451 | 0.0001195 | 0.018565 | 0.024114 | 0 | 0 | 0 | 521.1792 | 0.26059
7 | 328135 | 1866790 | 11269978 | 1880793.75 | 3774970.25 | 106345892.75 | 5214.75 | 976965.5 | 0.0030855 | 0.017554 | 0.10597 | 0.017686 | 0.035497 | 4.9036e-05 | 0.0091867 | 0.092887 | 0.50533 | 3.1355 | 1.3427 | 0.0021877 | 0.29878 | 0.0037987 | 0.020666 | 0.12823 | 0.054912 | 8.947e-05 | 0.012219 | 0.0084057 | 0 | 0 | 0 | 517.1379 | 0.25857
4 | 296516 | 1428809 | 11970467 | 1384890 | 4393136 | 106621628 | 220 | 630262 | 0.002781 | 0.013401 | 0.11227 | 0.012989 | 0.041203 | 2.0634e-06 | 0.0059112 | 0.083719 | 0.37855 | 3.3214 | 1.5586 | 9.2058e-05 | 0.19225 | 0.0034238 | 0.015481 | 0.13583 | 0.063738 | 3.7648e-06 | 0.0078623 | 0 | 0 | 0 | 0 | 513.6226 | 0.25681
1 | 251551.75 | 1101386.75 | 12427973.75 | 1082813 | 4762922.75 | 106746477.25 | 2304.25 | 473060 | 0.0023565 | 0.010318 | 0.11643 | 0.010144 | 0.044619 | 2.1586e-05 | 0.0044316 | 0.070941 | 0.28444 | 3.4441 | 1.6878 | 0.00096308 | 0.14413 | 0.0029012 | 0.011632 | 0.14085 | 0.069023 | 3.9386e-05 | 0.0058944 | 0 | 0 | 0 | 0 | 510.8608 | 0.25543
-2.5 | 251551.75 | 1101386.75 | 12427973.75 | 1082813 | 4762922.75 | 106746477.25 | 2304.25 | 473060 | 0.0023565 | 0.010318 | 0.11643 | 0.010144 | 0.044619 | 2.1586e-05 | 0.0044316 | 0.070941 | 0.28444 | 3.4441 | 1.6878 | 0.00096308 | 0.14413 | 0.0029012 | 0.011632 | 0.14085 | 0.069023 | 3.9386e-05 | 0.0058944 | 0 | 0 | 0 | 0
-5 | 251551.75 | 1101386.75 | 12427973.75 | 1082813 | 4762922.75 | 106746477.25 | 2304.25 | 473060 | 0.0023565 | 0.010318 | 0.11643 | 0.010144 | 0.044619 | 2.1586e-05 | 0.0044316 | 0.070941 | 0.28444 | 3.4441 | 1.6878 | 0.00096308 | 0.14413 | 0.0029012 | 0.011632 | 0.14085 | 0.069023 | 3.9386e-05 | 0.0058944 | 0 | 0 | 0 | 0